## Sheet1
Year | Study Type | Techniques Used | Hardware Used | Tests Case Size
1979 | TSA | Trapezoidal Integration | CDC 6500 host AP-1POB | 1723-bus 2764-line 398-unit
1983 | TSA | Trapezoidal Integration Fourth-Order Runge-Kutta | VAX-11/780, AP-120B, IBM-3081D Cray-1 | 103-bus 60-units
1990 | PF | Path Graph Factorization Fast Decoupled-load Flow | CRAY X/MP-48 | 8235-bus
1990 | PF | LU decomposition and Newton-Raphson | Alliant FX/80 | 3459-bus 5819-line
1990 | SCED | Batch Solution | IAPX 286/287 (16 units) | 504-bus 880-line 72 Units 718-contingencies
1991 | PF | LU decomposition | IPSC/2 (32 cpus) | IEEE 662
1991 | TSA | Successive Over Relaxation – Newton | IPSC/2 and Alliant | 662-bus (midwestern U.S)
1991 | TSA | Second Order Runge-Kutta Method | iPSC/2 | 256-bus
1991 | TSA | Gauss-Seidel Relaxation and Newton Method | VAXstation 2000 | 662-bus (midwestern U.S.)
1992 | DS | Parallel Predictor Corrector and Newton-Raphson | Cray-2 | 50-unit
1992 | DS | Generalized Minimal Residual method and Newton-Raphson | Cray Y-MP | 39-bus
1992 | TSA | Successive Over Relaxation – Newton | Alliant FX/8 (8 cpus) | 662-bus (US midwestem)
1992 | TSA | Gauss-Seidel Relaxation and Newton Method | NCube2 (512 cpus), AP-120B, VAX11/780, Cray-1 and IBM-3081D | 103-bus 60-unit 412-line
1993 | EMT | LU Decomposition and Newton-Raphson | AT386 (8 x Transputers) | 1026-bus 2457-line
1993 | TSA | Forward Backward Substitution and Frequency Domain Relaxation | Cray X/MP-116se and Cray Y/MP-8/8-64 | 1655-bus
1994 | PF | Successive Overrelaxation, Gauss-Seidel and FDLF | NCUBE2 and iPSC/860 (32 cpus) | 2429-bus (Texas)
1994 | TSA | Gauss-Seidel Relaxation and Newton Method | CRAY Y-MP8/464 (4 cpus) | 904-bus (US Network)
1994 | SCUC | Dynamic Programming | CRAY Y-MP2/216 | 26-unit
1995 | CA N-1 | Matrix multiplication and Batch | Apollo DN400 (5 cpus) | 2518-bus 665-unit 1983-bus 1651-contingencies
1995 | ED | Textured Decomposition and Han-Powell Method | NCUBE2 (32 cpus) | 228-bus
1995 | PF | LU factorization and Newton Raphson and FDPF | Symmetry 81 (20 cpus) | 1106-bus 1530 branch
1995 | TSA | LU factorization, and Trapazoidal rule and VDHN | Symmetry Ss1 | 2584-bus 6846-line 487-units
1996 | DS | Conjugate Gradient LU factorization and Newton-Raphson | IPSC/860 (8 cpus) | 616-bus 88-unit 995-line (Brazilian southeastern region )
1996 | PF | W-Matrix and Dependency-Based Substitution Algorithm | CRAY X-MPU216 and CRAY Y-MPU464 | 11670-bus 17288-line
1997 | OPF | APP | Sun Sparc-20 | 753-bus 1100-line 209-load 12 Ties
1997 | OPF | APP | Sun Sparc-20 | 753-bus 1100-line 209-load 12 Ties
1997 | PF | LU factorization and conjugate gradient method | Sequent Symmetry (15 cpus) | 8235-bus
1997 | TSA | Waveform Relaxation Method | Symmetry Ss1 (20 cpus) | 2583-bus 6846-line 487-units
1997 | TSA | Shifted-Picard algorithm, Domain decomposition (cointingency wise) and VDHN | IBM SP2 and DEC ALPHA AXP-3000/500 (8 workstations) | 2583-bus 51-units
1997 | TSA | Factorization Path Tree and VDHN | IBM-SP2 | 616-bus 812-line 92-unit
1997 | SCUC | Dynamic Programming | Silicon Graphics 1P22 Network | 34-unit
2000 | CA N-1 | Dynamic-load Balancing | IBM RISC 6000 (4 workstations) | 1663-bus 1711-contingencies (Brazil South Eastern )
2000 | PF | BBDF and Factorization Tree Algorithm | Intel 80486 and 6 transputers | 288-bus
2000 | SSE | APP and Gauss – Newton Method | Sun Ultra workstation network | 8047-bus 8-region 190-tie
2000 | TSA | Factorization Path Tree | IBM 9076 SP2 (16 cpus) | 3021-bus power
2000 | SCUC | APP and Newton Raphson | - | IEEE 118
2001 | EMT | VDHN–Maclaurin Method | AT386 (8 transputers) | IEEE 300
2002 | PF | Newton-GMRES and Newton Raphson | 1.0GHz Pentenium (8 cpus) | 30910-bus 39136-line
2004 | CA N-1 | Batch Solution | 2.3 GHz Pentium IV | 810-bus 1340-line 1300-contingencies
2004 | TSA | Block Bordered Diagonal Form | 700MHz Xeon Symmetry computer (12 cpus) | 10188-bus 13499-lines 1072 units 3003-load
2005 | DS | hierarchical Block Bordered Diagonal Form (BBDF) and Newton-Raphson | Intel Xeon (12 cpus) | 10188-bus 13499-line 1072-units 3003-load
2005 | OPF | Decoupling First-order KKT | 166MHz Pentium (29 workstations) | 584-bus 118-unit 937-line 11-tielines 5 region (Balkan-5)
2005 | OPF | Decoupling First-order KKT | 166MHz Pentium (29 workstations) | 584-bus 118-unit 937-line 11-tielines 5 region (Balkan-5)
2005 | PF | Block Bordered Diagonal Form and Newton Raphson | Intel 80486 and 6 transputers | 288-bus
2005 | SCOPF | Preconditioned GMRES and Primal-Dual IPM | 1.0GHz CPU (16 workstations) | 3493-bus 6689-line and 79-contingencies
2005 | SCOPF | Preconditioned GMRES and Primal-Dual IPM | 1.0GHz CPU (16 workstations) | 3493-bus 6689-line and 79-contingencies
2005 | TSA | Block Bordered Diagonal Form | 700MHz Xeon Symmetry computer (12 cpus) | 2115 nodes 2614-line 248 genera-tors and 544-load
2006 | SSE | Conjugate Gradient and LU Factorization | SGI Altix3000 (32 cpus) | 1177-bus 1770-line
2007 | PF | LU factorization of and Newton-Raphson and Fast Decoupled Power Flow | APEX20KE , EP20K1500EBC652-1x, FPGA (7 processors) | 7917-bus (Northeastern US power grid)
2008 | TSA | Waveform Relaxation Method | IBM PC 1350 ( 6 x 2.4GHz Pentenium) | 1923-bus 2280-line171-unit (Northen China)
2009 | CA N-1 | Dynamic-load Balancing | Cray XMT (8 2-Core Intel Xeon cpus) | 170000-bus 220648-line 512-contingencies
2009 | DS | LU decomposition /Newton-Raphson and Fast Poisson Solver andFast Fourier Transformation | Intel Xeon CPU host and NVIDIA Tesla C870 GPU | 4,000,000-bus
2009 | SSE | Extended Kalman Filter (EKF) and Newton-Raphson | 2.33Ghz 8-Core Xeon E5345 | 200-unit
2009 | TSA | trapezoidal rule and Gauss elimination and Back substitution | 2.5GHz quad-core AMD Phenom host and Nividia GeForce GTX 280 | 1248-bus 1244-line
2009 | TSA | Trapezoidal Integration and BBDF | IBM PC 1350 ( 6 x 2GHz Pentenium) | 1923-bus 2280-line171-unit (Northen China)
2009 | SCUC | Monte Carlo | BOINC (100 workstations) | 42-unit
2010 | CA N-1 | Dynamic-load Balancing | NWICEB (128 cpus) | 14000-bus 17346-contingencies (WECC)
2010 | CA N-1 | Dynamic-load Balancing | 500MHz Cray XMT (64 cpus) | 170001-bus 220648-line 512-contingencies
2010 | ED | Barrier Optimization | - | IEEE 118
2010 | PF | Preconditioned Biconjugate Gradient and Newton-Raphson | 2.83 GHz 2-Core host and Tesla C870 GPU | IEEE-118
2010 | TSA | LU Decomposition and Trapazoidal Integration | 2.5GHz quad-core AMD Phenom host and Nividia GeForce GTX 280 | 1248-bus 1244-line
2011 | DS | LU Decomposition and Distributed Integration | 3.2 GHz AMD CPU (64 threads) | 16072-bus 19622-line 2361-unit (WECC)
2011 | EMT | LU Decomposition and Trapezoidal Integration | 2.13GHz 2-Core Intel and NVIDIA GTX GeForce 285 | 117-bus 21-unit
2012 | PF | Forward Backward Substitution and Newton-Raphson | 3.10GHz Intel i3-2100 host and NVIDIA GeForce GTS 450 | Shandong System
2012 | TSA | Trapazoidal Integration andLU factorization andNewton-Raphson iteration | 2.5GHz AMDphenom 9850 host and 4 NVIDIA T10 GPU | 9984-bus 2560-units
2012 | TSA | symplectic Gauss Algorithm andPreconditioned GMRES, | NVIDIA GTX 280 | 2383-bus (Polish)
2013 | CA N-1 | Dynamic Master-Slave Scheduling | 16 Threads | 13030-bus 431-units 5950-load 512-contingencies
2013 | CA N-1 | Dynamic Master-Slave Scheduling | 16 Threads | 13029-bus 431-unit 5950-load 2000-contingencies
2013 | CA N-1 | Dynamic Master-Slave Scheduling | 32 CPUS | 13029-bus 431- units 5950-load 4000-contingencies
2013 | OPF | ADMM and Distributed Semi-Definite Programming | 3.40 GHz Intel Core i7–2600 CPU | IEEE 37 + 10-bus microgrid
2013 | OPF | ADMM and Distributed Semi-Definite Programming | 3.40 GHz Intel Core i7–2600 CPU | IEEE 37 + 10-bus microgrid
2013 | SSE | Runge-Kutta Fourth-Order andNewton-Raphson | 2.2GHz Intel Xeon E5606 host and NVIDIA Tesla C2075 | IEEE-118
2013 | SSE | LU decomposition andWLS | 2.0 GHz 8-Core Intel Xeon E5- 2620 and NVIDIA Fermi GPU | 4992-bus
2013 | SSE | Cholesky factorization andBackward Forward Substitution and Wegihted Least Square | 2.66 GHz Intel Core 2 Duo E8200 PC (11 cpus) | 1180-bus (10 x IEEE-118)
2013 | SCUC | LR and Benders | 2.4 GHz CPU (30 cpus) | California ISO
2014 | CA N-1 | Trapzoidal Integration and Dynamic Master-Slave Scheduling and others | 256 CPUs | 13029-bus 431-unit 5950-load 12488-line 10000-contingencies
2014 | DS | Jacobian-free Newton-GMRES | Xeon-E5-2620 host and NVIDIA K20 | 865-bus
2014 | EMT | Norton Equivalent Current andNode Injectivng Current andSolving Nodal voltage andSolving Inner Variables andSolving Control System | Intel Xeon E5645 and NIVIDIA Tesla C2070 | 9-bus RLC circuit
2014 | EMT | LU Decomposition and Trapezoidal Integration | AMD cout host and NVIDIA GPU | IEEE 39
2014 | SSE | Extended Kalman Filter | 3.2 GHz 4-Core AMD PhenomTM II host TeslaTMS2050 GPU | 19968-bus 5120 units 30720-measurments
2015 | DS | Schur-complement and VDHN | 48-Core AMD Opteron Interlagos | 14653-bus 15994-line 20-unit 1168- wind turbines 19419-load
2015 | DS | Backward Forward Substitution and Newton-Raphson | Xeon E5603 host and Nvidia Geforce GTX-460 | 283-bus
2015 | PF | Master–Slave-Splitting | - | IEEE-118 (augmented)
2015 | SSE | LU decomposition andNumerical Differentiation Method | 2.2 GHZ Intel Xeon E5606 host and NVIDIA Tesla C2075 | IEEE-118
2015 | SSE | LU decomposition and Extended Kalman Filter | 2.0 GHz 4-Core Intel Xeon E5-2620 host and NVIDIA Tesla S2050 | Bus-4992 and 23152-measurments
2015 | SCUC | Convex Relaxation | 2.4 GHz Intel Core i5 | IEEE 118
2015 | SCUC | ATC | 3.4 GHz CPU | IEEE 4672
2015 | SCUC | ADMM | 2.0 GHz and 3 GHz CPUs cluster | IEEE 3375
2016 | DS | Two-level Schur-complement and VDHN | 2.60 GHz AMD Opteron Interlagos 6238 (44 cpus) | 14653-bus 15994-line 23-unit 19419-load 438-pv 730-wind turbine
2016 | EMT | Sparsity Techniques andMatrix Vector Multiplcications | Intel core i7 CPU2600K host and NVIDIA GeForce GTX 590-GPU | 3861-bus 534-line
2016 | OPF | Optimality Condition Decomposition and Newton-Raphson | 3.2GHz Intel Core i5 | 1416-bus
2016 | OPF | Optimality Condition Decomposition and Newton-Raphson | 3.2GHz Intel Core i5 | 1416-bus
2016 | PPF | Monte Carlo | 40-Cores at Royal Institute of Technology HPC facility | 1354-bus (PEGASE)
2016 | PF | LU decomposition and forward andback substitution and path tree andNewton-Raphson | NVIDIA GK110 | 23215-bus
2016 | SSE | VDHN and WLS | NVIDIA Tesla K20c GPU | 68-bus 81-line 166-measurments
2016 | TSA | Symplectic Gauss method and Newton method and GMRES | Intel Xeon 8C E5-2650 host and NVIDIA Tesla K20 | extbf{2383-bus 327-units}
2016 | SCUC | Binary Reduction | 3.4 GHz 8-Core i7-3770 | MISO Network
2016 | SCUC | APP | 3.4 GHz CPU (8 cpus) | 1168-bus
2016 | SCUC | APP | 2.8 GHz CPU | IEEE 118
2016 | SCUC | ADMM | 2.30-GHz intel Core i5 CPU | IEEE 118
2017 | CA N-1 | LU Decomposition and Newton Raphson | Amazon EC2 v4 instance (256 x Cores Intel Xeon E5-2686 ) | 1946-bus 390-unit 2589-line 2589-contingencies (KEPCO2015)
2017 | CA N-1 | LU decomposition | NVIDIA Tesla K40 GPU | 9241-bus 2048-contingencies (PEGASE)
2017 | CA N-1 | Batch Solution | 3.40 GHz 4-core Intel i7-3770 | 15500-bus 2800-unit 20500-line 13922-load 1.44m-contingencies (PJM)
2017 | DS | LU decomposition and Dishonest Newton Method and Approximate Minimum Degree | 1.2GHz AMD (16 cpus) | (WECC)
2017 | DS | LU decomposition | 2.8 GHz Intel i7 (16 cpus) | 17000-bus (WECC-Size)
2017 | EMT | Layered Directed Acyclic Graph and Unified Fused Mulitply Add | 24-Core 2x Intel Xeon E5-2620 host and NVIDIA Tesla K20x | IEEE 123
2017 | EMT | Jacobian Domain Decomposition andCompensation Network Decomposition andPropagation Delay partitioning and Vector Multiplication | Intel Xeon E-2620 host and 2 NVIDIA GP104 GPUs | 79872-bus
2017 | OPF | ADMM | - | 944-bus
2017 | OPF | ADMM | - | 944-bus
2017 | PF | LU decomposition andForward Backward Substitution,andPath Tree and Newton-Raphson | 8-Core Intel Xeon E5-2650 host and a NVIDIA Telsa K20c | 2383-bus
2017 | PF | Fast Decouple Power Flow and Inexact Newton Method | 2.27GHz 8-Core Xeon E5607 host and NVIDIA Tesla M2070 GPU | 11624-bus
2017 | SSE | WLS and Jacobian Information Matrix andCorrection andVector State computation. | Intel Xeon CPU E3- 1230 V5 andNVIDA Tesla P100- PCIE-12GB | 147841-bus 256784-line 661409-measurmetns
2017 | SSE | LU decomposition andForward Backward Substitution and Newton Method | 2.2 GHz Intel Xeon host and NIVIDIA Tesla C2075, GeForce GTX 650 and GTX 660 | IEEE-118
2017 | SSE | Extended Kalman Filter | 2.0 GHz 4-Core Inetl XeonTM E5-2620 host and 4 Nividia TeslaTMS2050 GPUs | IEEE 118
2017 | SCUC | ADMM and Surrogate Lagrange Relaxation | 2.90GHz Intel i7-4910MQ | 10000-unit
2017 | SCUC | ADMM | 2.8 GHz CPU | IEEE-118
2018 | ED | APP | 3.7 GHz CPU | IEEE 118
2018 | OPF | KTT | - | IEEE 118
2018 | OPF | KTT | - | IEEE 118
2018 | PF | Block Bordered Diagonal Form and Newton–Raphson | 2.1 Ghz 8-core Intel Xeon (2cpus) | 1354-bus (PEGASE)
2018 | PPF | LU factorization and Batch | 2GHz Intel Xeon E5-2620 host and 2 NVIDIA Tesla K40 GPUs | 9241-bus 10000-contingencies (PEGASE)
2018 | PPF | Fast Decoupled Power Flow and Layered Directed Acyclic Graph (Batched) | 3.4GHz Intel Xeon E3-1230 v5 and NVIDIA Tesla P100 | 3659-bus 4092-unit 20,467-line 1024-load scenarios (PEGASE)
2018 | SCUC | ATC | 3.2GHz 4-core (4 cpus) | 117-bus 3-region
2018 | SCUC | ATC | 3.1 GHz CPU | IEEE 142
2019 | EMT | LU Decomposition (Crout) | NVIDIA K20x and P100 | IEEE 14
2019 | OPF | Benders Decomposition | 2.4GHz 4-Core CPU | 2869-bus (PEGASE)
2019 | OPF | Benders Decomposition | 2.4GHz 4-Core CPU | 2869-bus (PEGASE)
2019 | SCUC | APP | Intel Xeon Phi (99 cores) | 1168-bus
2019 | SCUC | ADMM | 3.6 GHz CPU | 187-unit
2019 | UC | ADMM | 2.80 GHz CPU | IEEE 3012
2020 | PF | Parallel Nodal Power Mismatch Vector and Newton-Raphson | 2.60Ghz 4-Core Intel i7 6700HQ host and NVIDIA GeForce GTX 950M | 4068-bus
2020 | SCED | APP | 3.7 GHz CPU | IEEE 118
2020 | SCOPF | Schur Complement | 2.10 GHz 18-Core Intel Xeon E5-2695 v4 host and NVIDIA Tesla P100 | 13659-bus 20467-contingencies (PEGASE)
2020 | TSA | BBDF (Nested) | 2.67 GHz 8 -Core Intel Xeon E7-8837 (8 cpus) | 24886-bus
2020 | UC | LU Decomposition and Fast Decoupled Power Flow | 2.10 GHz 6 -Cores (2 cpus) | 2749-bus
2020 | SCUC | ADMM and Binary Reduction | 2.3GHz CPUs (20 cores x 18 nodes) | MISO Network
2020 | SCUC | ADMM and Binary Reduction | 2.3GHz CPUs (20 cores x 18 nodes) | MISO Network
2021 | SCUC | Multi-Level Formulation | Intel Xeon Cores (100 cores) | IEEE 118
2021 | SCUC | Binary Reduction | - | IEEE 118
2021 | SCUC | ATC | Intel i7-8700 k | IEEE 118
2021 | SCUC | ADMM | 1.80Ghz Intel i7-8550U | IEEE 13
TSA: Transient Stability Analysis
PF: Power Flow
SCED: Security Constrained Economic Dispatch
CA N-1 : Contingency Analysis N-1
ED: Economic Dispatch
SSE: System State Estimation
EMT: Electromagnetic Transients
UC: Unit Commitment
SCOPF: Security Constrained Optimal Power Flow
SCUC: Security Constrained Unit Commitment
DS: Dynamic Stability
PPF: Probabilistic Power Flow